| QUALITY TEAM · POWER TECHNICAL SUPPORT Cable Laying & Backfilling Inspection Checklist Inspection & Quality Checklist | TAQA DISTRIBUTION |
| --- | --- |

| REFERENCE NO. | REVISION | LAST UPDATED | DISCIPLINE |
| --- | --- | --- | --- |
| QT-PTS-CHK-002 | 1.3 | 24 Jun 2026 | Power — Cable Installation |

| PROJECT / CONTRACT | LOCATION / FEEDER | CONTRACTOR | DATE OF INSPECTION |
| --- | --- | --- | --- |

1.  TRENCH & ROUTE

| # | Check item | Yes/No | N/A | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Trench route as per approved drawing and permit |  |  |  |
| 2 | Trench depth and width to specification |  |  |  |
| 3 | Trench free of sharp objects, debris and standing water |  |  |  |
| 4 | Sand / bedding layer placed to specified thickness |  |  |  |

2.  CABLE PULLING

| # | Check item | Yes/No | N/A | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Minimum bending radius maintained throughout the pull |  |  |  |
| 2 | Cable rollers / bell-mouth used; no dragging over trench edge |  |  |  |
| 3 | Pulling tension and speed controlled within limits |  |  |  |
| 4 | Cable sheath inspected — no cuts, abrasions or flat spots |  |  |  |
| 5 | Circuit spacing and phase arrangement as specified |  |  |  |

3.  PROTECTION & SEPARATION

| # | Check item | Yes/No | N/A | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Warning tape and/or protection tiles at specified depth |  |  |  |
| 2 | Separation from other cables and services maintained |  |  |  |
| 3 | Route markers / duct references installed where required |  |  |  |

4.  BACKFILL & REINSTATEMENT

| # | Check item | Yes/No | N/A | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Surround material approved and free of stones near the cable |  |  |  |
| 2 | Backfill compacted in layers to specification |  |  |  |
| 3 | As-laid measurements and route recorded before covering |  |  |  |
| 4 | Surface reinstated and site left tidy |  |  |  |

Mark each item Yes (compliant), No (non-conformance — raise on the remarks line) or N/A. Any “No” must be closed out before the activity is accepted.

SIGN-OFF

| INSPECTED BY (NAME / SIGNATURE) | REVIEWED BY — QUALITY TEAM | DATE |
| --- | --- | --- |