| QUALITY TEAM · POWER TECHNICAL SUPPORT Jointing in Adverse Weather — Pre-Work Checklist Inspection & Quality Checklist | TAQA DISTRIBUTION |
| --- | --- |

| REFERENCE NO. | REVISION | LAST UPDATED | DISCIPLINE |
| --- | --- | --- | --- |
| QT-PTS-CHK-003 | 1.1 | 12 Jul 2026 | Power — Cable Jointing (Weather) |

| PROJECT / CONTRACT | LOCATION / FEEDER | CONTRACTOR | DATE OF INSPECTION |
| --- | --- | --- | --- |

1.  CONDITIONS RECORDED

| # | Check item | Yes/No | N/A | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Ambient temperature measured and recorded |  |  |  |
| 2 | Relative humidity measured and recorded |  |  |  |
| 3 | Weather forecast checked for the planned jointing window |  |  |  |
| 4 | Wind / airborne dust conditions assessed |  |  |  |

2.  CONTROLS IN PLACE

| # | Check item | Yes/No | N/A | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Enclosure / tent erected and sealed against wind, rain and dust |  |  |  |
| 2 | Insulation surfaces and materials clean and dry |  |  |  |
| 3 | Approved warming / dehumidifying means available if needed |  |  |  |
| 4 | Excavation free of standing water; dry working platform provided |  |  |  |
| 5 | Materials within their stated temperature handling window |  |  |  |

3.  GO / NO-GO DECISION

| # | Check item | Yes/No | N/A | Remarks |
| --- | --- | --- | --- | --- |
| 1 | No active rain on, or forecast for, the open joint |  |  |  |
| 2 | No active sandstorm; enclosure cleaned down |  |  |  |
| 3 | Surfaces confirmed clean, dry and in temperature range at close-up |  |  |  |
| 4 | Decision to PROCEED / STOP recorded with name and time |  |  |  |

Mark each item Yes (compliant), No (non-conformance — raise on the remarks line) or N/A. Any “No” must be closed out before the activity is accepted.

SIGN-OFF

| INSPECTED BY (NAME / SIGNATURE) | REVIEWED BY — QUALITY TEAM | DATE |
| --- | --- | --- |