| QUALITY TEAM · POWER TECHNICAL SUPPORT Substation Cable Termination Quality Checklist Inspection & Quality Checklist | TAQA DISTRIBUTION |
| --- | --- |

| REFERENCE NO. | REVISION | LAST UPDATED | DISCIPLINE |
| --- | --- | --- | --- |
| QT-PTS-CHK-004 | 1.0 | 02 Jul 2026 | Power — Terminations |

| PROJECT / CONTRACT | LOCATION / FEEDER | CONTRACTOR | DATE OF INSPECTION |
| --- | --- | --- | --- |

1.  PREPARATION

| # | Check item | Yes/No | N/A | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Correct termination kit for cable and switchgear interface |  |  |  |
| 2 | Gland type, size and entry method as specified |  |  |  |
| 3 | Electrical clearances and creepage distances confirmed |  |  |  |
| 4 | Work area clean, dry and adequately lit |  |  |  |

2.  TERMINATION

| # | Check item | Yes/No | N/A | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Lug size correct; crimped with correct die and crimp count |  |  |  |
| 2 | Stress control / boot / heat-shrink applied without voids |  |  |  |
| 3 | Phase identification applied correctly |  |  |  |
| 4 | Connections torqued to specified value and marked |  |  |  |

3.  EARTHING & TESTING

| # | Check item | Yes/No | N/A | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Cable screen / armour earthed and continuous |  |  |  |
| 2 | Gland earthing installed and bonded |  |  |  |
| 3 | Phasing verified against the network |  |  |  |
| 4 | Insulation resistance test carried out and recorded |  |  |  |

4.  RECORDS & HOUSEKEEPING

| # | Check item | Yes/No | N/A | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Test values and torque records attached |  |  |  |
| 2 | Photographic record taken |  |  |  |
| 3 | Area cleared; covers and barriers reinstated |  |  |  |

Mark each item Yes (compliant), No (non-conformance — raise on the remarks line) or N/A. Any “No” must be closed out before the activity is accepted.

SIGN-OFF

| INSPECTED BY (NAME / SIGNATURE) | REVIEWED BY — QUALITY TEAM | DATE |
| --- | --- | --- |