Date of Inspection:

| SS Name |  |  | Contractor name |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Type of Equipment |  |  | Contract /PO No |  |  |  |  |  |
| Scheme No. / WO No. |  |  | Coordinates |  |  |  |  |  |
| Manufacturer Name |  |  | Year of Manufacture |  |  |  |  |  |
| Consultant Name |  |  |  |  |  |  |  |  |
| SN | Content |  |  | YES | NO | NA | Remark |  |
| 1 | Approved documents such as Material Submittal, Method statement, Risk assessment, Material Inspection, Approved earthing layout, Equipment layout and Municipality Demarcation Approval etc. to be available at site. |  |  |  |  |  |  |  |
| 2 | All lifting activities at site to be as per approved lifting plan. Make sure of the availability of certificates for rigger and machineries. |  |  |  |  |  |  |  |
| 3 | Proper storage of material. |  |  |  |  |  |  |  |
| 4 | Final visual inspection to confirm no physical damage. |  |  |  |  |  |  |  |
| 5 | Civil clearance to be obtained prior to starting equipment installation. |  |  |  |  |  |  |  |
| 6 | Assembly of the main equipment to be carried out under the supervision of approved OEM Engineer. |  |  |  |  |  |  |  |
| 7 | Inspect bolt tightening and ensure it meets the torque requirements as per manufacturer standards. |  |  |  |  |  |  |  |
| 8 | Verify proper alignment and level of transformers, switchgear, and panels. |  |  |  |  |  |  |  |
| 9 | Verify all electrical and mechanical tests are conducted by approved testing Engineer/OEM Engineer and as per approved SAT procedure. |  |  |  |  |  |  |  |
| 10 | Confirm the validity of Calibration Certificates for testing equipment’s. |  |  |  |  |  |  |  |
| 11 | All cables terminations & Glanding are satisfactory. |  |  |  |  |  |  |  |
| 12 | Erected equipment is connected to the substation earthing system as per approved earthing layout. |  |  |  |  |  |  |  |
| 13 | Quality checks to be performed for all the activities by QA/QC Engineer. |  |  |  |  |  |  |  |
| 14 | Required photos as proof are collected. |  |  |  |  |  |  |  |

Note: Installation of equipment’s should adhere to the manufacturer's guidelines, this checklist is intended solely to verify the implementation of key areas.

| Contractor Representative |  | Supervision Team |  |
| --- | --- | --- | --- |
| Name / ID |  | Name |  |
| Signature |  | Signature |  |